**SILVER flexible shower hose**

Smooth PVC flexible hose FF1/2"

L. 0.85m

Reference: **AT836T3**

Specification description

Smooth food-grade, metal-effect, reinforced PVC, SILVER flexible shower hose, FF1/2", L. 0.85m.

Easy to maintain and reduces bacterial retention.

PVC hose reinforced with polyester threads, complies with European standard EN 1113.

Smooth, food grade, PVC inner tube.

Chrome-plated, conical brass connectors 1/2".

Will withstand strain up to 50kg, bending and twisting.