**Star-shaped flow straightener**

F22/100

2 per pack

Reference: **AT921022.2P**

Specification description

Star-shaped flow straightener with no grid, reduces bacterial development: no water retention or build-up of impurities.

F22/100.

Chrome-plated brass collar.

Supplied in packs of 2.