Star-shaped flow straightener

F22/100

50 units

Reference: AT921022.50P

Specification description

Star-shaped flow straightener with no grid, reduces bacterial development: no water retention or build-up of impurities.

F22/100.

Chrome-plated brass collar.

Supplied in packs of 50.