**Disposable shower kits**

Flexible shower hose L. 0.85m with a yellow union

25 per pack

Reference: **AT808Y.25P**

Specification description

Disposable shower kit.

- 25 white PVC flexible shower hoses L. 0.85m with yellow ABS conical unions,

- 25 white monojet shower heads, Ø 70mm: rain effect.

Ideal for healthcare facilities:

- Disposable shower kit: enables regular changing.

- Flexible hose has smooth interior/exterior: easy to maintain with fewer bacterial niches.

- Coloured conical unions: provide clear visual indication and help to ensure correct shower kit replacement.

Packs of 25.